## Revisions&Action Log
EI3622-1 SEVERE WEATHER PREPAREDNESS CHECKLIST (March 2026) Revisions and action log
Revision | Comment
R1
R2
R3
R4
R5
Action log | Comment
A1
A2
A3
A4
A5
A6
A7
A8
A9
A10
A11
A12
A13

## Acronyms
EI3622-1 SEVERE WEATHER PREPAREDNESS CHECKLIST (March 2026) Acronyms and abbreviations
Acronyms/abbreviations | Description
AUV | autonomous underwater vehicle
BSEE | Bureau of Safety and Environmental Enforcement
CAPE | convective available potential energy
CCTV | closed-circuit television
CMA | Central Meteorological Administration
CTV | crew transfer vessel
DB | dry-bulb temperature
DNV | Det Norske Veritas EI Energy Institute
ERP | emergency response plan
EUMETSAT | European Organisation for the Exploration of Meteorological Satellites
GOES | geostationary operational environmental satellite
GPG | good practice guidelines
GT | globe/black bulb temperature
HAZID | hazard identification
HAZOP | hazard and operability study
HSE | health, safety and environment
IBTrACS | The International Best Track Archive for Climate Stewardship
IEC | International Electrotechnical Commission
IMCA | International Marine Contractors Association
IMO | International Maritime Organization
IOER | Integrated Offshore Emergency Response – Renewables Guidance
IPCC | Intergovernmental Panel on Climate Change
ISO | International Organization for Standardization
JAGTI | Joint Action Group for Temperature Indices
JCG | Japanese Coast Guard
JMA | Japanese Meteorological Agency
LMRA | last-minute risk analysis
LNG | liquefied natural gas
NHC | National Hurricane Center
NWB | nature wet-bulb temperature
NWS | National Weather Service
NOAA | National Oceanic and Atmospheric Administration
ORED | Offshore renewable energy development(s)
OREI | Offshore renewable energy installation
OSHA | Occupational Safety and Health Administration
PPE | personal protective equipment
ROV | remotely operated vehicle
SCADA | supervisory control and data acquisition
SMS | safety management system
SOLAS | (International Convention for the) Safety of Life at Sea
SOV | Service operation vessel
TC-RSMC | Tropical Cyclone – Regional Specialized Meteorological Centres
TCWC | Tropical Cyclone Warning Centres
UAS | unmanned aerial system
USCG | US Coast Guard
WBGT | wet-bulb globe temperature
WMO | World Meteorological Organization
WTG | wind turbine generator

## Instructions
Manual and Scoring
Tab | Manual for use
1 | Before you begin
1.1 | Review and understand the G+ Guidance document, applicable legislation, regulations and standards prior to completing this document.
2 | Navigation
2.1 | Do not move tab locations or adjust formulas. This affects the integrity of data and the graphics. Do not hide or unhide rows and columns.
2.2 | All Assessment Status fields are set to 'Not Assessed' as default.
2.3 | Complete the assessment using each applicable tab in this file. Results will be included in the Dashboard.
2.4 | Using the assessment questions as a prompt, determine the status of each question. Over-optimistic estimating will not give a realistic viewpoint therefore honesty and a goal of continual improvement are encouraged.
2.5 | Use the drop downs (No/ Partial / Yes/ Not assessed) to select your answer for each topic.
2.6 | As you work through the tool, results will automatically populate into the Dashboard, based on your answers.
2.7 | The 'Weights' tab can be used to assign user-selected priorities to topic sections, so that some count more toward the assessment level and maturity scores than others. It can also be used where you consider that - for the situation you are considering - some topic sections are not relevant. For such sections, the scores will necessarily be 'Not Assessed'. To prevent such irrelevant sections misleadingly reducing the overall score, you can set their weights to zero. The overall score will then reflect only the relevant sections.
2.8 | The reset button on the Dashboard may be used to reset the file and start again.
3 | Recording results
3.1 | Once completed we recommend saving the document with an appropriate name, date and phase to ensure accurate record keeping.
4 | Scoring scale
| 0 | No | Indicates there was no evidence to indicate implementation at the time of assessment.
| 0.5 | Partial | Indicates there was inconsistent evidence, a potential lack of understanding or limited resources at the time of assessment.
| 1 | Yes | Indicates there was an established, well understood evidence in place at the time of assessment.

## Dashboard
EI3622-1 SEVERE WEATHER PREPAREDNESS CHECKLIST (March 2026) Checklist summary report
For more information, refer to EI3622 GPG G+ severe weather preparedness
Implementation level
Phase checked
Jurisdiction
Reference
Date
Reviewer(s)
|  | Assessment status |  | Maturity level (weighted)
Overall level |  | 0% | 0% | 0% | 0%
1 | Key principles | 0% | 0% | 0% | 0%
1.1 | Defined Scope | 0% | 0% | 0% | 0%
1.2 | Clarity in responsibilities | 0% | 0% | 0% | 0%
1.3 | Communications plan | 0% | 0% | 0% | 0%
1.4 | Management of change | 0% | 0% | 0% | 0%
1.5 | Engineering control | 0% | 0% | 0% | 0%
1.6 | Safe systems of work and administrative controls | 0% | 0% | 0% | 0%
1.7 | Awareness and behavioural aspects | 0% | 0% | 0% | 0%
1.8 | Weather forecasts | 0% | 0% | 0% | 0%
1.9 | Safe havens | 0% | 0% | 0% | 0%
1.1 | Digital solutions | 0% | 0% | 0% | 0%
2 | Extra-tropical storms | 0% | 0% | 0% | 0%
2.1 | Planning | 0% | 0% | 0% | 0%
2.2 | Event actions | 0% | 0% | 0% | 0%
2.3 | Post-storm recovery | 0% | 0% | 0% | 0%
3 | Tropical cyclones | 0% | 0% | 0% | 0%
3.1 | Planning | 0% | 0% | 0% | 0%
3.2 | Event actions | 0% | 0% | 0% | 0%
3.3 | Post-storm recovery | 0% | 0% | 0% | 0%
4 | Extreme heat | 0% | 0% | 0% | 0%
4.1 | Planning | 0% | 0% | 0% | 0%
4.2 | Event actions | 0% | 0% | 0% | 0%
4.3 | Post event recovery | 0% | 0% | 0% | 0%
4 | Extreme cold | 0% | 0% | 0% | 0%
4.1 | Planning | 0% | 0% | 0% | 0%
4.2 | Event actions | 0% | 0% | 0% | 0%
4.3 | Post event recovery | 0% | 0% | 0% | 0%
4 | Lightning | 0% | 0% | 0% | 0%
4.1 | Planning/preparation for event | 0% | 0% | 0% | 0%
4.2 | During event actions | 0% | 0% | 0% | 0%
4.3 | Post event recovery | 0% | 0% | 0% | 0%
RESET ALL DATA
Note on F13: G+: This will be automatically updated by the values set in the 'Status' columns in sheets 1 to 7

## 1. Key Principles
EI3622-1 1. Key principles
Item | Question | Status | Supporting comments | Actions | Owner | Date
1.1 | Defined scope
| Is the geographic scope of Offshore Renewable Energy Development clearly defined? | Not Assessed
| Have the types of severe weather experienced within the geographic scope been identified? | Not Assessed
| Has the definition of a severe weather event been agreed and included in contracts, where applicable? | Not Assessed
1.2 | Clarity in responsibilities
| Has a responsible individual been appointed in the accountable organisation? | Not Assessed
| Have the companies responsible for managing weather risk at each geographic site and for each operation been identified and agreed? | Not Assessed
| Have designated individuals responsible for managing weather risk at each geographic site and for each operation been identified and agreed? | Not Assessed
| Have national / local requirements regarding responsibilities been addressed? | Not Assessed
| Have engineering controls for the severe weather been identified? | Not Assessed
| Are the responsibilities adequately captured with HSE plans and any associated bridging documents? | Not Assessed
1.3 | Communications plan
| Have the responsible parties for communications been identified? | Not Assessed
| Have interfaces and communication channels for government agencies such as coast guards been identified and established? | Not Assessed
| Have communication trees been shared with all relevant parties? | Not Assessed
| For each operation and operating zone, are the communication channels between parties clearly defined? | Not Assessed
| Have the alert protocols for severe weather been verified in terms of the clarity of instruction and the use of standardised codes and language? | Not Assessed
1.4 | Management of change
| Are management of change processes in place and are they adequate for the severe weather processes encountered within the geographic extent of the ORED? | Not Assessed
| Are the responsible parties for approval of Management of change processes clearly defined? | Not Assessed
1.5 | Engineering control
| Are engineering controls to mitigate severe weather impacts considered during technical due dilligence of a project? | Not Assessed
| Are engineering controls to mitigate severe weather impacts considered during HAZID/HAZOP phase of a project? | Not Assessed
| Are engineering controls considered in respone to damage/incidents associated with severe weather ? | Not Assessed
1.6 | Safe systems of work and administrative controls
| Are severe weather impacts adequately communicated to the workforce? | Not Assessed
| Are adequate control measures implemented with respect to site access and work activities for specific severe weather criteria? | Not Assessed
| Is there adequate management of working activities to avoid lone working during severe weather conditions? | Not Assessed
| Do working practices include Last-Minute Risk Analysis (LMRA) / Dynamic risk assessment, which considers current and forecast weather conditions. | Not Assessed
1.7 | Awareness and behavioural aspects
| Is training provided to personnel entering ORED sites to ensure they recognise the risks posed by severe weather and can respond appropriately to warnings? | Not Assessed
| Are processes in place to test communication links to ensure warnings are always received. | Not Assessed
1.8 | Weather forecasts
| Does the weather forecast procurement process adequately address severe weather encountered within the ORED? | Not Assessed
| Has a forecast specialist identified the most appropriate type of forecast (deterministic, probablistic) for the severe weather encountered within the ORED? | Not Assessed
| Is forecast verification implemented for severe weather events? | Not Assessed
| Have rapidly changing conditions been adequately addressed in the forecast provision? | Not Assessed
| Has forecast training been provided to user of forecast data to ensure they are interpreting forecasts correctly? | Not Assessed
1.9 | Safe havens
| Have adequate safe havens been identified? | Not Assessed
| Have local regulations regarding vessels and safe havens been properly addressed? | Not Assessed
1.1 | Digital solutions
| Have digital solutions been considered to help manage severe weather processes? | Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Not Assessed
Note on C2: G+: Use this column to set the value and automatically update the 'Summary Dashboard' sheet

## 2. Extra-Tropical Storms
EI3622-1 2. Extra-tropical storms
Item | Question | Status | Supporting comments | Actions | Owner | Date
2.2 | Planning
| Have all activities that could be impacted by an extra-tropical storm been identified? | Not Assessed
| Are the roles and responsibilities for key personnel associated with initiation and implementation of the plan clearly defined? | Not Assessed
| Has scenario planning for impact of extra-tropical storms on coastal fabrication / marshalling yards, and identification of engineering measures to minimise damage been undertaken. | Not Assessed
| Have appropriate risk assessments been undertaken for all operations exposed to severe weather and appropriate mitigation measures identified? | Not Assessed
| Does the emergency response plan adequately address severe weather impacts? | Not Assessed
| Has the designated individual approved and signed off on the risk assessment and mitigation measures? | Not Assessed
| Has the responsible individual approved and signed off on the risk assessment and mitigation measures? | Not Assessed
| Has an appropriate meteorological service to monitor weather and sea conditions and provide real time alerts using forecasting tools been implemented? | Not Assessed
| Have workers been trained on the use of extra-tropical storm forecasts and their interpretation ? | Not Assessed
| Has a timeline of events for each impact, with T-times that indicate when the activities are to occur in relation to the anticipated time of impact been implemented? | Not Assessed
| Are the weather criteria (e.g. wind speed, wave height,etc) for shutdown of operations and other activities clearly defined? | Not Assessed
| Has the timeline and method of evacuation of staff, including consideration of capacity, been identified? | Not Assessed
| Has a process to control the movement of marine vessels, and location of safe havens been implemented? | Not Assessed
| Has the method of communication of the severe weather to employees been identified? | Not Assessed
| Is the system for accounting for employees adequate under severe weather responses such as evacuation? | Not Assessed
| Have thresholds on weather parameters that allow back to work procedures to commence been agreed? | Not Assessed
| Is the responsible party that allows back to work procedures to commence clearly defined? | Not Assessed
| Have back to work procedures been implemented? | Not Assessed
2.3 | Event actions
| Have appropriate measures been undertaken aboard vessels to secure cargo and deck equipment? | Not Assessed
| Have appropriate measures been undertaken in marshalling and fabrication yards to secure equipment and facilities? | Not Assessed
| Have all personnel been accounted for? | Not Assessed
| Are any personnel stranded at offshore installations, and if so has the ERP been implemented? | Not Assessed
| Have vessels evacuated and are all accounted for? | Not Assessed
| Is storm monitoring in place to allow for declaration of safe conditions? | Not Assessed
2.4 | Post-storm recovery
| Have all personnel should be accounted for and clear return to work procedures adhered to. | Not Assessed
| Has the conclusion of extra-tropical storm conditions been communicated and are all parties accepting of safe conditions (i.e. are vessel masters comfortable to return to operations)? | Not Assessed
| Construction - Has a visual survey of components and structures in manufacturing and marshalling ports? | Not Assessed
| Construction - Has a visual survey of facilities including cranes, access platforms, etc been undertaken? | Not Assessed
| Construction - Has all damage been documented and remedial actions been identified in accordance with management of change procedures? | Not Assessed
| Operation - Has the SCADA data been interogated to identify defects on each structure / turbine? | Not Assessed
| Operation - Has CCTV imagery been inspected to identify defects on each structure / turbine? | Not Assessed
| Operation - Has a visual survey been undertaken to identify defects on each structure / turbine? | Not Assessed
| Operation - Has all damage been catalogued and remedial actions been identified in accordance with management of change procedures? | Not Assessed
| Has the forecast been verified? | Not Assessed
| Has a lessons learned exercise been undertaken? | Not Assessed
Note on C2: G+: Use this column to set the value and automatically update the 'Summary Dashboard' sheet

## 3. Tropical Cyclones
EI3622-1 3. Tropical cyclones
Item | Question | Status | Supporting comments | Actions | Owner | Date
3.2 | Planning
| Have all activities that could be impacted by a tropical cyclone been identified? | Not Assessed
| Are the roles and responsibilities for key personnel associated with initiation and implementation of the plan clearly defined? | Not Assessed
| Has scenario planning for impact of tropical cyclones on coastal fabrication / marshalling yards, and identification of engineering measures to minimise damage been undertaken. | Not Assessed
| Have appropriate risk assessments been undertaken for all operations exposed to severe weather and appropriate mitigation measures identified? | Not Assessed
| Have changes to bathymetry and/or erosion of the seabed been considered in the risk assessment? | Not Assessed
| Does the emergency response plan adequately address severe weather impacts? | Not Assessed
| Has the designated individual approved and signed off on the risk assessment and mitigation measures? | Not Assessed
| Has the responsible individual approved and signed off on the risk assessment and mitigation measures? | Not Assessed
| Has an appropriate meteorological service to monitor weather and sea conditions and provide real time alerts using forecasting tools been implemented? Does this consider any requirements to utilise the services of the National Weather Service? | Not Assessed
| Have workers been trained on the use of tropical cyclone forecasts and their interpretation ? | Not Assessed
| Has a timeline of events for each impact, with T-times that indicate when the activities are to occur in relation to the anticipated time of impact been implemented? | Not Assessed
| Are the weather criteria (e.g. wind speed, wave height,etc) for shutdown of operations and other activities clearly defined? | Not Assessed
| Has the timeline and method of evacuation of staff, including consideration of capacity, been identified? | Not Assessed
| Has a process to control the movement of marine vessels, and location of safe havens been implemented and do these comply with local regulations? | Not Assessed
| Has the method of communication of the severe weather to employees been identified? | Not Assessed
| Is the system for accounting for employees adequate under severe weather responses such as evacuation? | Not Assessed
| Have thresholds on weather parameters that allow back to work procedures to commence been agreed? | Not Assessed
| Is the responsible party that allows back to work procedures to commence clearly defined? | Not Assessed
| Have back to work procedures been implemented? | Not Assessed
3.3 | Event actions
| Have appropriate measures been undertaken aboard vessels to secure cargo and deck equipment? | Not Assessed
| Have appropriate measures been undertaken in marshalling and fabrication yards to secure equipment and facilities? | Not Assessed
| Have appropriate measures been undertaken to protect against flooding? | Not Assessed
| Have all personnel been accounted for? | Not Assessed
| Are any personnel stranded at offshore installations, and if so has the ERP been implemented? | Not Assessed
| Have vessels evacuated and are all accounted for? | Not Assessed
| Is storm monitoring in place to allow for declaration of safe conditions? | Not Assessed
3.4 | Post storm recovery
| Have all personnel should be accounted for and clear return to work procedures adhered to. | Not Assessed
| Has the conclusion of tropical cyclone conditions been communicated and are all parties accepting of safe conditions (i.e. are vessel masters comfortable to return to operations)? | Not Assessed
| Construction - Has a visual survey of components and structures in manufacturing and marshalling ports? | Not Assessed
| Construction - Has a visual survey of facilities including cranes, access platforms, etc been undertaken? | Not Assessed
| Construction - Has all damage been documented and remedial actions been identified in accordance with management of change procedures? | Not Assessed
| Operation - Has the SCADA data been interogated to identify defects on each structure / turbine? | Not Assessed
| Operation - Has CCTV imagery been inspected to identify defects on each structure / turbine? | Not Assessed
| Operation - Has a visual survey been undertaken to identify defects on each structure / turbine? | Not Assessed
| Operation - Has all damage been catalogued and remedial actions been identified in accordance with management of change procedures? | Not Assessed
| Has the forecast been verified? | Not Assessed
| Has a lessons learned exercise been undertaken? | Not Assessed
Note on C2: G+: Use this column to set the value and automatically update the 'Summary Dashboard' sheet

## 4. Extreme Heat
EI3622-1 4. Extreme Heat
Item | Question | Status | Supporting comments | Actions | Owner | Date
4.2 | Planning
| Have the criteria for extreme heat conditions been formalised and agreed for the geographic domain of the ORED? | Not Assessed
| Has an appropriate forecast service been implemented that supports alerts against the criteria identified ? | Not Assessed
| Have workers been trained on the use of extreme heat forecasts and their interpretation ? | Not Assessed
| Has appropriate monitoring of heat conditions been scoped and implemented for the range of conditions likely to be experienced within each work area ? | Not Assessed
| Are the roles and responsibilities for key personnel associated with initiation and implementation of the plan clearly defined? | Not Assessed
| Have appropriate risk assessments been undertaken for all operations exposed to extreme heat and appropriate mitigation measures identified? | Not Assessed
| Have workers been trained to recognise the symptons of extreme heat disorders? | Not Assessed
| Have workers with a particular disposition to extreme heat disorders due to existing medical conditions or medication been identified? | Not Assessed
| Has a buddy system been implemented to ensure workers are checking each other for extreme heat disorders? | Not Assessed
| Does the emergency response plan adequately address extreme heat impacts? | Not Assessed
| Have items of PPE, designed to combat heat disorders, been identified and provided to workers? | Not Assessed
| Have appropriate working cycles been identified for different extreme heat levels and job roles? | Not Assessed
| Have appropriate rest facilities been planned for workers? | Not Assessed
| Have appropriate hydration and cooling facilities been planned for workers? | Not Assessed
| Has appropriate shaded working areas been planned for workers? | Not Assessed
| Have periods of acclimatisation been planned for workers, where required? | Not Assessed
| Has the impact of heat on marine equipment been addressed? | Not Assessed
| Has seasonal scheduling of work considered extreme heat events? | Not Assessed
4.3 | Event actions
| Are hydration and cooling facilities implemented and functional? | Not Assessed
| Have extreme heat working cycles been implemented? | Not Assessed
| Are additional personnel required to allow safe working under new working cycles? | Not Assessed
| Has appropriate PPE (e.g. cooling scarves) been made available to personnel? | Not Assessed
| Is heat monitoring equipment functional? | Not Assessed
| Is extreme heat monitoring in place to allow for declaration of safe conditions? | Not Assessed
4.4 | Post event recovery
| Has the period of personnel monitoring, post declaration of safe conditions, been communicated to workers? | Not Assessed
| Has the work/rest cycle been reinstated for normal conditions? | Not Assessed
| Has the forecast been verified? | Not Assessed
| Has a lessons learned exercise been undertaken? | Not Assessed
Note on C2: G+: Use this column to set the value and automatically update the 'Summary Dashboard' sheet

## 5. Extreme Cold
EI3622-1 5. Extreme Cold
Item | Question | Status | Supporting comments | Actions | Owner | Date
5.2 | Planning/preparation for event
| Have the criteria for extreme cold conditions been formalised and agreed for the geographic domain of the ORED? | Not Assessed
| Has an appropriate forecast service been implemented that supports alerts against the criteria identified ? | Not Assessed
| Have workers been trained on the use of extreme cold forecasts and their interpretation ? | Not Assessed
| Has appropriate monitoring of cold conditions been scoped and implemented for the range of conditions likely to be experienced within each work area ? | Not Assessed
| Are the roles and responsibilities for key personnel associated with initiation and implementation of the plan clearly defined? | Not Assessed
| Have appropriate risk assessments been undertaken for all operations exposed to extreme cold and appropriate mitigation measures identified? | Not Assessed
| Have workers been trained to recognise the symptons of extreme cold disorders? | Not Assessed
| Have workers with a particular disposition to extreme cold disorders due to existing medical conditions or medication been identified? | Not Assessed
| Has a buddy system been implemented to ensure workers are checking each other for extreme cold disorders? | Not Assessed
| Does the emergency response plan adequately address extreme cold impacts? | Not Assessed
| Have items of PPE, designed to combat cold disorders, been identified and provided to workers? | Not Assessed
| Have appropriate working cycles been identified for different extreme cold levels and job roles? | Not Assessed
| Have appropriatewarming facilities been planned for workers? | Not Assessed
| Have periods of acclimatisation been planned for workers, where required? | Not Assessed
| Has the impact of cold on marine equipment been addressed? | Not Assessed
| Has seasonal scheduling of work considered extreme cold events? | Not Assessed
5.3 | During event actions
| Are additional personnel required to allow safe working under new working cycles? | Not Assessed
| Has appropriate PPE been made available to personnel? | Not Assessed
| Is cold monitoring equipment functional? | Not Assessed
| Is extreme cold monitoring in place to allow for declaration of safe conditions? | Not Assessed
5.4 | Post-event recovery
| Has the period of personnel monitoring, post declaration of safe conditions, been communicated to workers? | Not Assessed
| Has the work/rest cycle been reinstated for normal conditions? | Not Assessed
| Has the forecast been verified? | Not Assessed
| Has a lessons learned exercise been undertaken? | Not Assessed
Note on C2: G+: Use this column to set the value and automatically update the 'Summary Dashboard' sheet

## 6. Lightning
EI3622-1 6. Lightning
Item | Question | Status | Supporting comments | Actions | Owner | Date
6.2 | Planning/preparation for event
| Has a lightning detection network been considered for the ORED geographic region? | Not Assessed
| Has training been provide to workers exposed to lightning with respect to the risks associated with lightning, the warning system that is used to advise workers of risk of lightning and appropriate safe places for their areas of work? | Not Assessed
| Have personal lightning detectors been considered to protect the worrkforce? | Not Assessed
| Has a suitable forecast been implemented for lightning and is the forecast routinely verified? | Not Assessed
| Have workers been trained on the use of lightning forecasts and their interpretation ? | Not Assessed
| Has a lightning warning system been implemented? | Not Assessed
| Have engineering controls, in accordance with IEC61400-24, been planned to protect infrastructure. | Not Assessed
| Have safe zones been identified and appropriate signage implemented. | Not Assessed
6.3 | During event actions
| Has a system been implemented that demonstrates that all personnel have moved to safe zones and been accounted for? | Not Assessed
| Have safe operating criteria been achieved?and return to work procedure been implemented. | Not Assessed
3.3 | Post-event recovery
| Have the return to work procedures been implemented? | Not Assessed
| Has lightning damage been assessed using SCADA data and visual inspection | Not Assessed
| Has lightning damage been recorded and remedial actions planned using an appropriate management of change system? | Not Assessed
| Has the forecast been verified? | Not Assessed
| Has a lessons learned exercise been undertaken? | Not Assessed
Note on C2: G+: Use this column to set the value and automatically update the 'Summary Dashboard' sheet

## Scoring
Overall level |  | 0% | 0%
1 | Key principles | 0% | 0%
1.1 | Defined scope | 0% | 0%
1.2 | Clarity in responsibilities | 0% | 0%
1.3 | Communication plans | 0% | 0%
1.4 | Management of change | 0% | 0%
1.5 | Engineering control | 0% | 0%
1.6 | Safe systems of work and administrative controls | 0% | 0%
1.7 | Awareness and behavioural aspects | 0% | 0%
1.8 | Weather forecasts | 0% | 0%
1.9 | Safe havens | 0% | 0%
1.1 | Digital solutions | 0% | 0%
2 | Extra-tropical storms | 0% | 0%
2.2 | Planning | 0% | 0%
2.3 | Event actions | 0% | 0%
2.4 | Post-storm recovery | 0% | 0%
3 | Tropical cyclones | 0% | 0%
3.2 | Planning | 0% | 0%
3.3 | Event actions | 0% | 0%
3.4 | Post-storm recovery | 0% | 0%
4 | Extreme heat | 0% | 0%
4.2 | Planning | 0% | 0%
4.3 | Event actions | 0% | 0%
4.4 | Post-event recovery | 0% | 0%
5 | Extreme cold | 0% | 0%
5.2 | Planning/preparation for event | 0% | 0%
5.3 | During event actions | 0% | 0%
5.4 | Post-event recovery | 0% | 0%
6 | Lightning | 0% | 0%
6.2 | Planning/preparation for event | 0% | 0%
6.3 | During event actions | 0% | 0%
6.4 | Post-event recovery | 0% | 0%

## Weights
The 'Weights' tab can be used to assign user-selected priorities to topic sections, so that some count more toward the assessment level and maturity scores than others. It can also be used where you consider that - for the situation you are assessing - some topic sections are not relevant. For such sections, the scores will necessarily be 'Not Assessed'. To prevent such irrelevant sections misleadingly reducing the overall score, you can set their weights to zero. The overall score will then reflect only the relevant sections.
Section | Assessment | Maturity | Weight | Weights (normalized)
Key principles | 0% | 0% | 1 | 0.16667
Extra-tropical storms | 0% | 0% | 1 | 0.16667
Tropical cyclones | 0% | 0% | 1 | 0.16667
Extreme heat | 0% | 0% | 1 | 0.16667
Extreme cold | 0% | 0% | 1 | 0.16667
Lightning | 0% | 0% | 1 | 0.16667
Average maturity | 0% | 0% | Weighted maturity | 0%
|  |  | 6 | 1